##### COMBUSTIBLE

##### STOCK STORAGE QUESTIONNAIRE

(Please print the information clearly.)

| Business Name: |  |
| --- | --- |
| Business Address: |  |

The purpose of this questionnaire is to assist the Building Division in determining the Fire Code requirements for the storage of “High Piled Combustible Stock” at your facility.  These requirements will be based on the 2004 OSSC, 2004 Oregon Fire Code Article 81 and NFPA 231, 231C and 231D.  This form should be completed and signed by a qualified person having the necessary code knowledge required for Combustible Stock Storage, e.g., architect or engineer of record, code consultant, insurance underwriter or fire protection engineer.

| 1. | Commodity Class: |  | Source: UFC |  | NFPA |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Aerosol Level III: | Yes | No | Class I, II, III, IV, High Hazard (V) (lowest to highest): |  |
|  | (If commodity is plastic, also complete Attachment A) |
| 2. | Description of storage (if additional space is needed, attach additional page): |  |
|  | Public/Private areas: |  |
| 3. | Maximum height of storage: |  | feet (distance from floor to top of commodity) |
| 4. | Method of storage (check all that apply): |
| Encapsulated in plastic | Non-encapsulated |
| Wooden pallets | Plastic pallets |
| On racks with solid shelves | On racks without solid shelves |
| Bin box made of: (check one) | Solid pile that is: (check one) |  |  |
|  | metal | wood | plastic |  | stable | unstable |
| 5. | Types of racks: (check all that apply) |
| single row | double row | multiple row |
| 6. | Area of storage: |
| 0 – 500 sq ft | 12,000 – 20,000 sq ft | 300,001 – 500,000 sq ft |
| 501 – 2,500 sq ft | 20,001 – 100,000 sq ft | 500,001 sq ft and over |
| 2,501 – 12,000 sq ft | 100,001 – 300,000 sq ft | 2 hour separation |
| 7. | Sprinkler information: |
| a. | Sprinkler density: |  | b. Rack sprinklers? | Yes | No |
| c. | Temperature rating of sprinkle head in: | Ceiling | Racks |
| d. | Fire hose stations and hose connections: | Yes | No | Number required: |  | Size: |  |
| e. | Fire flow worksheet completed: | Yes | No | Design cross-checked: | Yes | No |
| f. | Class 1 standpipes required: | Yes | No |

| 8. | Building height: |  | feet | 9. | Distance from top of storage to fire sprinkler deflector: |  | feet |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 10. | Smoke/Heat vents: | Yes | No | Ratio: |  | square feet |
| 11. | Draft curtains: | Yes | No |  | sq ft sections | Depth: | 4 feet | 6 feet | 8 feet |
| 12. | Column/Wall fire protection required: | Yes | No | Additional fire sprinkler heads: | Yes | No |
|  | Protected by listed/tested assay: | Yes | No | Description: |  |
| 13. | Aisle width between racks and storage: |  | feet |
| 14. | Smoke detection system: | Yes | No |
| 15. | Maximum cubic feet per pile: (choose one) |
|  | 0 – 50,000 cubic feet | 100,001 – 200,000 cubic feet |
|  | 50,001 – 100,000 cubic feet | 200,001 – 400,000 cubic feet |
| 16. | Access roadways within 150-feet of all portions of exterior walls: | Yes | No |
| 17. | Access doors provided every 100 lineal feet on exterior walls which face access roadways: | Yes | No |
| 18. | Alternate materials/methods requested: | Yes | No |

| Owner/Tenant Name: |  |
| --- | --- |
| Signature: |  |
| Title: |  | Phone: |  | Fax: |  |
| Architect/Engineer of Record: |  |
| Signature: |  |
| Title: |  | Phone: |  | Fax: |  |

M:\Word\Bldg Forms\Combustible Stock Storage Questions

Revised:  06/2008

# Text boxes

CITY OF TUALATIN

18880 SW Martinazzi Avenue

Tualatin, OR  97062

(503) 692-2000    FAX: (503) 692-0147

Inspection Requests: (503) 691-3040

www.tualatinoregon.gov